SECTION 08 71 13.10

AUTOMATIC DOOR OPERATORS - RESIDENTIAL



Display hidden notes to specifier by using “Tools”/“Options”/“Display”/“Hidden Text”.

\*\* NOTE TO SPECIFIER \*\* LiftMaster Group, Inc.; Residential Electric Door Operators.

This section is based on the products of The LiftMaster Group, Inc., which is located at:

300 Windsor Drive

Oak Brook, IL 60523

Tel: 800.282.6225

Email: specs@LiftMaster.com

Web: LiftMaster.com

[{click Here} for additional information.](http://www.arcat.com/arcatcos/cos42/arc42485.html?src=spec)

LiftMaster’s full commercial and residential garage door operator/gate operator/access control product lines meet the needs of Architects, Designers, Engineers, and Specifiers in any design or conceptual plan, while offering 100 percent compliance with UL 325 safety and construction codes.  Our entire product line also contributes to energy-efficiency credits for LEED green building certification from the U.S. Green Building Council.  LiftMaster is a registered presenter of the American Institute of Architects and is approved to present any of our AIA CEUs at your firm’s location. For learning objectives and to schedule a Lunch & Learn for your firm, please send a request to [specs@LiftMaster.com](mailto:).  Find a complete library of architectural specifications, shop drawings, CSI format 3-part specs, CAD, and BIM product renderings, visit LiftMaster.com.

1. GENERAL
   1. SECTION INCLUDES
      1. Residential Automatic Garage Door Operators.
         1. Jackshaft garage door operators (LiftMaster Model 8500).
   2. RELATED SECTIONS

\*\* NOTE TO SPECIFIER \*\* Delete any sections below not relevant to this project; add others as required.

* + 1. Section 06100 - Rough Carpentry: For installation and requirements for blocking and nailers.
    2. Section 16050 - Basic Electrical Materials and Methods: For installation and requirements for electrical connections.
  1. REFERENCES

\*\* NOTE TO SPECIFIER \*\* Delete references from the list below that are not actually required by the text of the edited section.

* + 1. Underwriters Laboratories (UL) - UL Listed products.
  1. SUBMITTALS
     1. Submit under provisions of Section 01300.
     2. Product Data: Manufacturer’s data sheets on each product to be used, including:
        1. Preparation instructions and recommendations.
        2. Storage and handling requirements and recommendations.
        3. Installation methods.
        4. Cleaning methods.
     3. Shop Drawings: Submit shop drawings showing layout, profiles, and product components, including anchorage, edge conditions, and accessories.
  2. DELIVERY**,** STORAGE, AND HANDLING
     1. Store products in manufacturer’s unopened packaging with labels intact until ready for installation.
     2. Schedule delivery of garage door operator so that spaces are sufficiently complete that door operators can be installed immediately upon delivery.
  3. WARRANTY
     1. Manufacturer’s Warranty. Provide manufacturer’s standard warranty for each product. Refer to specific warranty information under each model in Part 2 of this section.

1. PRODUCTS
   1. MANUFACTURERS
      1. Acceptable Manufacturer: LiftMaster; 300 Windsor Drive; Oak Brook, IL 60523. Toll-Free: 800.282.6225. Email: specs@LiftMaster.com Web: [LiftMaster.com](http://www.liftmaster.com).

\*\* NOTE TO SPECIFIER \*\* Delete one of the following two paragraphs; coordinate with requirements of Division 1 section on product options and substitutions.

* + 1. Substitutions: Not permitted.
    2. Requests for substitutions will be considered in accordance with provisions of Section 01600.
  1. JACKSHAFT GARAGE DOOR OPERATOR
     1. Jackshaft Garage Door Operator: LiftMaster 8500 DC Battery Backup Capable Wall Mount Garage Door Operator. Direct drive operator for garages with very low, cathedral or obstructed ceilings.
        1. Motor:
           1. Voltage: 24V DC.
           2. Rotational Torque: 255 in\*lb.
           3. Thermal Protection: Automatic.
           4. Lubrication: Permanent.
        2. Drive Mechanism:
           1. Drive Means: Internal chain and sprocket.
           2. Reduction Means: Gear 63:1.
        3. Logic Type:
           1. Solid-state microcontroller with built-in surge suppressor.
        4. Dimensions:
           1. Garage Door Operator Dimensions: 6-7/8 inches D x 16-1/4 inches H x 6-1/50 inches W (174 mm D x 413 mm H x 153 mm W).
           2. Maximum Door Size: 14 feet (4267 mm) tall. Total of 180 square feet (16.7 square meters).
           3. Headroom Clearance Required: 3 inches (77 mm) from center of torsion bar.
        5. Shipping Weight: 31 pounds (14 kg).
        6. Adjustments:
           1. Auto-Force.
           2. Electronic Limit Settings.
        7. Travel Rate:
           1. 7-3/5 inches (193 mm) per second (approximately).
        8. Electrical:
           1. Voltage: 120V AC, 60 Hz.
           2. Wattage: 120W.
           3. Current Rating: 2.7A.
           4. UL Listed.
           5. Length of 3-Prong Line Cord: 6 feet (1829 mm).
        9. Security+ 2.0 Radio Controls:
           1. LiftMaster 893MAX 3-Button Remote Control.
           2. Coding System: Smart receiver code button and indicator light.
           3. Operating Range: 200 feet (61 m) (approximately).
           4. Operating Temperature: -31 degrees F (-35 degrees C) to 149 degrees F (65 degrees C).
           5. Remote Control Radio Frequency: 310, 315 and 390 MHz tri-band.
           6. Radio Receiver Frequency: Frequency agile on 310, 315 and 390.
        10. MyQ Powered Radio:
            1. 902 to 928 MHz.
            2. 50-channel FHSS (Frequency Hopping Spread Spectrum).
            3. Provides two-way communication from garage door operator and MyQ Accessories.\*
            4. Enables remote closing of garage door with key MyQ Accessories.

\*\* NOTE TO SPECIFIER \*\* Delete if not required.

* + - * 1. LiftMaster 828LM Internet Gateway: Enables monitoring and control of garage door operators and lighting controls via Internet-enabled smartphone, tablet or computer (sold separately).

\* MyQ radio disabled in Battery Backup mode.

* + - 1. Control Panel:
         1. LiftMaster 888LM MyQ Control Panel.
         2. MyQ and Security 2.0+ radio.
         3. Timer-to-Close.
         4. Motion Detecting: Hands-free operator lights on.
         5. Light Control: Turns operator lights on/off.
         6. Lock Mode: Locks out remote controls.
         7. Program Remote Controls: Keypads and MyQ Accessories.
      2. Lighting:
         1. Remote control lighting ﬁxtures can be placed anywhere in garage.
         2. Number of Bulbs: 2.
         3. Maximum Wattage: 100 x 2.
         4. Adjustable time, solid-state delay (1.5 to 4.5 minutes).
      3. Materials:
         1. Chassis: Steel.
         2. Cover: Plastic.
      4. Convenience/Safety Features:
         1. The Protector System safety reversing sensors.

\*\* NOTE TO SPECIFIER \*\* Delete optional Battery Backup if not required.

* + - * 1. Battery Backup Capable (optional accessory LiftMaster Model 475LM).
        2. Alert-2-Close unattended close operation with select accessories (must not be used with one-piece door).
        3. Hands-free worklights on.
        4. Emergency/quick release.
        5. Ventilation/pet opening.
        6. Down safety reverse.
        7. Up safety stop.
        8. Door open/beam obstructed/lights on.
        9. Slow start/soft stop.
      1. Installation Aids:

\*\* NOTE TO SPECIFIER \*\* Delete optional installation aids if not required.

Provide Alternate Mounting Kit: LiftMaster Model 480LM for obstructions/low headroom lowers operator by 6 inches (152 mm).

16. Warranty:

* + - * 1. Lifetime motor.
        2. 5-year parts.
        3. 1-year battery (optional accessory LiftMaster Model 475LM).

1. EXECUTION
   1. EXAMINATION AND PREPARATION
      1. Inspect and prepare substrates using the methods recommended by the manufacturer for achieving best result for the substrates under project conditions.
      2. Do not proceed with installation until substrates have been prepared using the methods recommended by the manufacturer and deviations from manufacturer’s recommended tolerances are corrected. Commencement of installation constitutes acceptance of conditions.
      3. If preparation is the responsibility of another installer, notify Architect in writing of deviations from manufacturer’s recommended installation tolerances and conditions.
   2. INSTALLATION
      1. Install in accordance with manufacturer’s instructions and in proper relationship with adjacent construction. Test for proper operation and adjust until satisfactory results are obtained.
   3. PROTECTION
      1. Protect installed products until completion of project.
      2. Touch up, repair or replace damaged products before Substantial Completion.

END OF SECTION